## Slide 1
GridWise
LLM-Assisted Smart Campus Energy Optimization Engine
Bridging Natural Language Operator Directives with Deterministic Mathematical LP Optimization & Enterprise Cyber Defense
Team: KUET_CODE_AND_CAFFEINE | Event: BUP Inter-University Hackathon 2026
Stack: FastAPI · HiGHS LP Solver (SciPy) · Pydantic v2 · Token-Bucket Defense · Reactive Web Console

## Slide 2
GRIDWISE — BUP HACKATHON 2026
The Challenge: Campus Energy Dispatch vs. Operator Intent
The Energy Dilemma
Campuses face dynamic TOU peak tariffs (up to 34 BDT/kWh) and intermittent solar generation. Battery storage is crucial but degradation and capacity limits require precise scheduling.
The Operator Gap
Operators communicate in ambiguous natural language ('clean panels at noon', 'hold 80 kWh reserve'). Converting these to strict physical constraints manually causes delays and errors.
LLM Pitfalls in Energy
Raw LLMs hallucinate numbers, violate basic physical energy balance (supply != demand), and are vulnerable to prompt injection attacks if allowed to directly output schedules.

## Slide 3
GRIDWISE — BUP HACKATHON 2026
GridWise Solution: Deterministic Trust Architecture
1. Zero-Hallucination Pipeline
LLM is strictly confined to interpreting notes into 6 rigid schemas. It NEVER generates raw numerical schedules.
2. Start-Inclusive / End-Exclusive
Exact physical hour window normalization (e.g., '1 PM to 3 PM' → [13, 14]), ensuring seamless 24h mathematical modeling.
3. Deterministic HiGHS Optimization
SciPy HiGHS Linear Programming (LP) solver computes mathematically proven global minimum electricity cost in <50ms.
4. Independent Physics Replay
Every schedule is replayed independently through physics verification (0.01 kWh tolerance) before returning to the user.
5. End-of-Day Neutrality
Enforces E[23] == E_initial mandatory constraint, preventing artificial battery draining and ensuring sustainable daily cycling.
6. Multi-Layer Cyber Security
Sliding-window token rate limiting, threat quarantine, prompt-injection defense, and circuit breaker protection.

## Slide 4
GRIDWISE — BUP HACKATHON 2026
End-to-End System Architecture
1. Web Frontend
Interactive Console (SVG Energy Flow & Time Scrubber)
2. Security Middleware
Rate Limiter · Size Limit (1MB) · IP Quarantine · Security Headers
3. Request Validation
Strict Pydantic v2 Models (24 Demand/Solar/Tariff arrays + Battery)
4. LLM Interpreter
Adversarial Pattern Scanner · Start/End Hours · 6 Directive Schemas
5. HiGHS LP Solver
Min Σ(Grid[h] * Tariff[h]) · Hourly Energy Balance · Neutrality E[23]=E0
6. Physics Replay Validator
Independent Replay & Recomputed Financial / Physical Totals

## Slide 5
GRIDWISE — BUP HACKATHON 2026
Strict Operator Directives & Semantic Normalization
1. solar_reduction
Modifies usable solar multiplier factor (0.0 to 1.0). Example: '80% solar reduction' → factor: 0.2
2. minimum_battery_reserve
Enforces stored battery energy floor E[h] >= min_energy. Example: 'Hold 80 kWh reserve' → min_energy: 80.0
3. no_charge_window
Prohibits battery from charging during specific hours C[h] = 0. Example: 'No charging from 2-4 PM' → hours: [14, 15]
4. no_discharge_window
Prohibits battery from discharging during hours D[h] = 0. Example: 'Avoid discharge from 6-8 PM' → hours: [18, 19]
5. max_grid_window
Caps electricity grid import G[h] <= max_grid_kwh. Example: 'Limit grid intake to 155 kWh' → max_grid: 155.0
6. no_op
Irrelevant, informational, or distractor notes produce no constraint adjustments (applies = false).

## Slide 6
GRIDWISE — BUP HACKATHON 2026
Mathematical Formulation (HiGHS LP Solver)
Objective & Core Dynamics
Primary Objective: Minimize Total Energy Cost min Σ (Grid[h] × Tariff[h]) for h = 0..23
Fundamental Hourly Energy Balance: Grid[h] + Solar[h] + Discharge[h] = Demand[h] + Charge[h]
Battery State of Charge Transition: E[h] = E[h-1] + Charge[h] - Discharge[h]
Mandatory End-of-Day Neutrality: E[23] == E_initial (Zero daily degradation/bias)
Physical Constraints & Bounds
Solar Curtailment Limit: 0 <= SolarUsed[h] <= EffectiveSolar[h]
Battery Operating Bounds: min_reserve[h] <= E[h] <= capacity_kwh
Charge / Discharge Power Limits: 0 <= Charge[h] <= max_charge_rate 0 <= Discharge[h] <= max_discharge_rate
Deterministic Execution: Solved using HiGHS Interior-Point / Simplex in <50ms with 10s timeout protection.

## Slide 7
GRIDWISE — BUP HACKATHON 2026
Multi-Layer Web Security & Cyber-Breach Defense
Prompt Injection Defense
Regex scanners inspect operator notes for adversarial patterns ('ignore previous instructions', 'eval()', 'reveal keys') and block suspicious input before LLM execution.
LLM Circuit Breaker
Thread-safe circuit breaker tracks consecutive failures (CLOSED → OPEN → HALF_OPEN), isolating faulty external LLM APIs and preventing cascade failures.
Token-Bucket Rate Limiter
Per-client sliding window rate limiter (60 req/min + burst capacity) prevents denial-of-service and quota exhaustion.
Client Quarantine Defense
Threat detector automatically quarantines abusive client IPs for 5 minutes when violation thresholds are breached.
Sanitized Audit Logging
SOC2-compliant structured JSON logging automatically redacts API keys, passwords, and tokens from all audit trails.
Enterprise HTTP Headers
Injects CSP, HSTS, X-Frame-Options: DENY, X-Content-Type-Options: nosniff, and granular CORS origin control.

## Slide 8
GRIDWISE — BUP HACKATHON 2026
GridWise Web Console: Modern Operator Experience
Dynamic 24h SVG Energy Flow
Real-time animated energy routing between Solar, Grid, Demand, and Battery with a 24-hour playback scrubber.
Interactive SVG Charting Suite
Multi-view data visualizations: Solar vs Available, Grid draw, Battery SoC curves, TOU tariff heatmaps, and hourly cost bars.
Live Directive Interpretation Preview
Instant badge feedback as operators type instructions, previewing normalized hour windows and affected constraint parameters.
Scenario Benchmarking & JSON Export
Built-in preset loader with all 10 official BUP Hackathon cases, comparison manager, and one-click JSON export.

## Slide 9
GRIDWISE — BUP HACKATHON 2026
Verification, Testing & Benchmark Results
38 / 38
Automated Tests Passed (100%)
10 / 10
Official BUP Benchmark Cases Solved
< 50 ms
Average LP Optimization Time
0.01 kWh
Physical Replay Tolerance
Comprehensive Test Suite Coverage
• test_validation.py — Array lengths (exactly 24), non-negativity, battery bounds.
• test_directives.py — All 6 directive types, multiple directive composition, hour normalization.
• test_llm_guardrails.py — Prompt injection blocking, circuit breaker state transitions, JSON extraction.
• test_optimizer.py — LP optimality, battery neutrality, reserve floors, charge/discharge block windows.
• test_schedule_validator.py — Independent replay verification, deliberate corruption detection.
• test_security.py — Token bucket rate limiting, IP quarantine, JWT auth, RBAC roles.
• test_public_cases.py — End-to-end integration across high solar, multi-directive challenge profiles.

## Slide 10
GRIDWISE — BUP HACKATHON 2026
Conclusion: Ready for Real-World Microgrids
Why GridWise Stands Out
✔ Deterministic Trust: Separates language reasoning from physical math. No hallucinations, guaranteed minimum-cost.
✔ Complete Web-Native Integration: Direct connection between modern frontend UI and FastAPI HiGHS optimization engine.
✔ Production-Grade Security: Cyber-breach detection, sliding-window rate limiting, token sanitization, and fail-closed safety.
✔ Deployment Ready: Fully containerized with Docker, lightweight footprint, and zero external binary dependencies.
✔ Scalability: Ready to scale from university campuses to industrial parks, hospital microgrids, and EV charging hubs.